**This is an updated ENIGMA quality control protocol (April 2017) for the analysis of FreeSurfer mean cortical thickness and surface area ROI data.**

**Note that the previous version of this protocol can still be found on the ENIGMA website under “ENIGMA3 – GWAS Meta Analysis of Cortical Thickness and Surface Area”**

**(**[**http://enigma.ini.usc.edu/protocols/imaging-protocols/**](http://enigma.ini.usc.edu/protocols/imaging-protocols/)**)**

**2.0 protocol updates:**

* **Additional slices when visualizing the internal surface**
* **Updated visual QC guidelines**
* **QC rating template excel sheet**

**If you have any questions or run into problems, please feel free to contact us:** [**enigma@ini.usc.edu**](mailto:enigma@ini.usc.edu) **[neda.jahanshad@ini.usc.edu](mailto:neda.jahanshad@ini.usc.edu)**

**These protocols are offered with an unlimited license and without warranty. However, if you find these protocols useful in your research, please provide a link to the ENIGMA website in your work: www.enigma.ini.usc.edu**

**Step 2: Quality Checking Cortical Measures (FreeSurfer)**

Highlighted portions of the instructions may require you to make changes so that the commands work on your system and data.

**There are three major steps for quality checking the cortical surface segmentations outputted from FreeSurfer:**

1. **Outlier Detection:** This is a simple R script that will identify subjects with cortical thickness and surface area values that deviate from the rest of your subjects.
2. **Internal Surface Method:** This method uses a Matlab function to plot cortical surface segmentations directly on a subject’s scan and collates snapshots from internal slices of the brain into a webpage for easy checking.
3. **External Surface Method:** This is loosely based on the QATools for FreeSurfer. This creates a webpage with external views of the segmentations from different angles**.**

**Outlier Detection:**

This step requires that you have R installed and that you have downloaded the outlier detection script found [here](http://enigma.ini.usc.edu/wp-content/uploads/CORTEX/outliers.R).

Change directories to the location of your **CorticalMeasuresENIGMA\_ThickAvg.csv and CorticalMeasuresENIGMA\_SurfAvg.csv** generated in Step 1 of the protocols. Make sure the outliers.R script is also in that directory and run:

R --no-save --slave < outliers.R > outliers.log

This will generate a log file that will tell you which subjects are outliers and for which structures they are outliers for. Make sure you look at these subjects closely as you proceed with the quality check protocol to make sure they are segmented properly.

**NB:** Just because a subject is an outlier does not necessarily mean they should be excluded from the analysis. If a subject is segmented properly in FreeSurfer (which you will visually verify at later steps in this protocol) then please do keep them in the analysis.

**The Internal Surface Method:**

* Matlab
* Download the ENIGMA\_Cortical\_QC\_2.0 scripts package: <http://enigma.ini.usc.edu/protocols/imaging-protocols/>

(see Step 2: ENIGMA Cortical QC scripts package 2.0 April 2017)

* \*\*Note that in this updated version, “func\_make\_corticalpngs\_ENIGMA\_QC.m” now creates additional internal slices to aid in the visual inspection. The previous version of this script, which includes fewer slices, is still included in the scripts package and has been renamed as “func\_make\_corticalpngs\_ENIGMA\_QC\_FEWSLICES.m”
* An easy to copy/paste function that will run the process below can be found under Step2 on the website:

(<http://enigma.ini.usc.edu/protocols/imaging-protocols/cortical_pngs/>)

Download the collection of Matlab scripts called ENIGMA\_Cortical\_QC\_2.0.tar.gz (see above), unzip the directory, and change directories to that folder with the required Matlab \*.m scripts. For simplicity, we assume you are working on a Linux machine with the base directory /enigma/QC\_ENIGMA/.

Start Matlab: /usr/local/matlab/bin/matlab

Add the current folder containing all of the required scripts to Matlab’s path.

Select: File -> Set Path -> Add Folder -> {OK} -> {Save} -> {Close}

In the Matlab console window change directories to the folder with all of your FreeSurfer subject folders.

cd /enigma/subjects/

Make a directory to store all of the QC output.

mkdir /enigma/subjects/QC/

The script we want to run is called func\_make\_corticalpngs\_ENIGMA\_QC.m with the following parameters:

func\_make\_corticalpngs\_ENIGMA\_QC(output\_QC\_directory, subject\_name, select\_MRI\_image, select\_Segmented\_image)

We want to set ‘subject\_name’ such that ‘subject\_name’ + ‘select\_Segmented\_image’ will form the full name of the segmentation label files (e.g. subj1/mri/aparc+aseg.mgz) and similarly for ‘select\_MRI\_image’ we want it to give the full name of the registered MRI scan outputted by FreeSurfer (e.g. subj1/mri/orig.mgz).

In the Matlab command window we can do:

QC\_output\_directory='/enigma/subjects/QC/';

FS\_directory='/enigma/subjects/';

a=dir(char(strcat(FS\_directory,'/\*')));%Choose this so that it selects only your

%subject folders that contain FS output

for x = 3:size(a,1)

[c,b,d]=fileparts(a(x,1).name); %b becomes the subject\_name

try

func\_make\_corticalpngs\_ENIGMA\_QC(QC\_output\_directory, b, [FS\_directory, '/', b, '/mri/orig.mgz'], [FS\_directory,'/', b, '/mri/aparc+aseg.mgz']);

end

display(['Done with subject: ', b, ': ', num2str(x-2), ' of ', num2str(size(a,1)-2)]);

end

The func\_make\_corticalpngs\_ENIGMA\_QC script should take approximately 7 seconds/subject and will output a series of \*.png image files separated by individual subject folders.

**NB:** if you run into problems with this Matlab loop try removing the last “/” in the QC\_output\_directory variable. So, QC\_output\_directory='/enigma/subjects/QC/'; would become QC\_output\_directory='/enigma/subjects/QC';

**Making the QC Webpage:**

To create a webpage for easy viewing of the QC output you just generated in Matlab. Within the /QC\_ENIGMA/ directory is a script called ***make\_ENIGMA\_QC\_webpage.sh.*** Make sure it is executable:

chmod 777 make\_ENIGMA\_QC\_webpage.sh

Now to run the script, just give the script the full path to the directory where you stored the Matlab QC output files:

./make\_ENIGMA\_QC\_webpage.sh /enigma/subjects/QC/

**NB:** If you have trouble running this script, it’s possible that you need to fix the line endings in the script before running. You can do this by running this command: sed -i -e 's/\r$//' make\_ENIGMA\_QC\_webpage.sh

This script will create a webpage called **ENIGMA\_Cortical\_QC.html** in the same folder as your QC output. To open the webpage in a browser in a Linux environment you can probably just type:

firefox /enigma/subjects/QC/ENIGMA\_Cortical\_QC.html

**Note:** if you want to check the segmentation on another computer, you can just copy over the whole /enigma/subjects/QC/ output folder to your computer and open the webpage from there.

Scroll through each set of images. Note that you can click on a subject’s files to see a larger version.

**NOTE: you can use the legend.jpg file found in the ENIGMA\_QC/ folder as a colored coded reference of each FreeSurfer ROI (split by left/right).**

**Use *The ENIGMA Cortical Control Guide 2.0* and the *ENIGMA Cortical QC Template* to conduct and record your quality ratings:** (http://enigma.ini.usc.edu/protocols/imaging-protocols/)

**The External Surface Method:**

**Download the script fsqc.sh:** [**here**](http://enigma.ini.usc.edu/wp-content/uploads/CORTEX/fsqc.sh)

**NB: FreeSurfer and its utilities need to be in your path or this script will not run properly. You can type tksurfer on the command line to make sure it is available.**

The script **fsqc.sh** will create a webpage with lateral and medial snapshots of pial surface reconstructions colored with cortical labels. Clicking on the images will display a larger version. To run the script, first source FreeSurfer’s environment variable $SUBJECTS\_DIR to point to your subjects directory. For example:

bash

export SUBJECTS\_DIR=/enigma/Parent\_Folder

Next create a directory to contain the snapshots (.tif image files), here we will call it fsqcdir/. Change the working directory to fsqcdir and run the **fsqc.sh** script from there:

cd fsqcdir


source /enigma/Parent\_Folder/scripts/fsqc.sh

This script will call `tksurfer` in a loop for each subject and output a series of 4 images (.tif) files for each subject. It will also create a website called index.html so that you can easily view the images. You can open the index.html file in any browser, just make sure all of the .tif files are in the same folder if you decide to move the index.html file to a different location (like a local computer). If you are in a Linux environment you should be able to just type on the command line:

#while in the output fsqcdir output folder

firefox index.html


**These are examples of successful reconstructions:**

****

**Make sure to:**

* Check that all lobes are present, especially the ventral part of the temporal lobe
* Check that labels positions are not different from the general case

**Here is an example of a poor labeling:**



**Use *The ENIGMA Cortical Control Guide 2.0* and the *ENIGMA Cortical QC Template* to conduct and record your quality ratings:** (http://enigma.ini.usc.edu/protocols/imaging-protocols/)